|  |
| --- |
| PVC Insulated Earth Wire/Building/Conduit Wire |
| **CODE** | **Description** |
| DC101 | 1.0mm2 (1/1.13) Single Core PVC  |
| DC121 | 1.5mm2 (7/0.50) Single Core PVC  |
| DC141 | 2.5mm2 (7/0.67) Single Core PVC  |
| DC151 | 4.0mm2 (7/0.85) Single Core PVC  |
| DC161 | 6.0mm2 (7/1.04) Single Core PVC |
| DC171 | 10.0mm2 (7/1.35) Single Core PVC |
| DC181 | 16.0mm2 (7/1.70) Single Core PVC |
| DC191 | 25.0mm2 (19/1.35) Single Core PVC  |
| DC1101 | 35.0mm2 (19/1.53) Single Core PVC  |
| DC1111 | 50.0mm2 (19/1.78) Single Core PVC |
| DC1121 | 70.0mm2 (19/2.14) Single Core PVC |
| DC1131 | 95.0mm2 (37/1.78) Single Core PVC  |
| DC1141 | 120.0mm2 (37/2.03) Single Core PVC  |
| DC1151 | 150.0mm2 (37/2.25) Single Core PVC  |
| DC1161 | 185.0mm2 (37/2.52) Single Core PVC  |
| DC1171 | 240.0mm2 (61/2.25) Single Core PVC  |
| DC1181 | 300.0mm2 (61/2.52) Single Core PVC  |
| DC1191 | 400.0mm2 (61/2.85) Single Core PVC |
| DC11101 | 500.0mm2 (61/3.20) Single Core PVC  |
| DC11111 | 630.0mm2 (91/3.00) Single Core PVC |

|  |
| --- |
| PVC SDI Cable Copper |
| **CODE** | **Description** |
| DC109 | 1.0mm2 (1/1.13) Single Core PVC/PVC |
| DC129 | 1.5mm2 (7/0.50) Single Core PVC/PVC  |
| DC149 | 2.5mm2 (7/0.67) Single Core PVC/PVC  |
| DC159 | 4.0mm2 (7/0.85) Single Core PVC/PVC  |
| DC169 | 6.0mm2 (7/1.04) Single Core PVC/PVC |
| DC179 | 10.0mm2 (7/1.35) Single Core PVC/PVC |
| DC189 | 16.0mm2 (7/1.70) Single Core PVC/PVC |
| DC199 | 25.0mm2 (19/1.35) Single Core PVC/PVC |
| DC1109 | 35.0mm2 (19/1.53) Single Core PVC/PVC |
| DC1119 | 50.0mm2 (19/1.78) Single Core PVC/PVC |
| DC1129 | 70.0mm2 (19/2.14) Single Core PVC/PVC |
| DC1139 | 95.0mm2 (37/1.78) Single Core PVC/PVC |
| DC1149 | 120.0mm2 (37/2.03) Single Core PVC/PVC |
| DC1159 | 150.0mm2 (37/2.25) Single Core PVC/PVC |
| DC1169 | 185.0mm2 (37/2.52) Single Core PVC/PVC  |
| DC1179 | 240.0mm2 (61/2.25) Single Core PVC/PVC  |
| DC1189 | 300.0mm2 (61/2.52) Single Core PVC/PVC  |
| DC1199 | 400.0mm2 (61/2.85) Single Core PVC/PVC  |
| DC11109 | 500.0mm2 (61/3.20) Single Core PVC/PVC  |
| DC11119 | 630.0mm2 (91/3.00) Single Core PVC/PVC |

|  |
| --- |
| PVC SDI Cable Aluminium  |
| **CODE** | **Description** |
| DC189/AL | 16.0mm2 (7/1.70) Single Core PVC/PVC  |
| DC199/AL | 25.0mm2 (19/1.35) Single Core PVC/PVC  |
| DC1109/AL | 35.0mm2 (19/1.53) Single Core PVC/PVC  |
| DC1119/AL | 50.0mm2 (19/1.78) Single Core PVC/PVC  |
| DC1129/AL | 70.0mm2 (19/2.14) Single Core PVC/PVC |
| DC1139/AL | 95.0mm2 (37/1.78) Single Core PVC/PVC  |
| DC1149/AL | 120.0mm2 (37/2.03) Single Core PVC/PVC |
| DC1159/AL | 150.0mm2 (37/2.25) Single Core PVC/PVC |
| DC1169/AL | 185.0mm2 (37/2.52) Single Core PVC/PVC |
| DC1179/AL | 240.0mm2 (61/2.25) Single Core PVC/PVC |
| DC1189/AL | 300.0mm2 (61/2.52) Single Core PVC/PVC |
| DC1199/AL | 400.0mm2 (61/2.85) Single Core PVC/PVC |
| DC11109/AL | 500.0mm2 (61/3.20) Single Core PVC/PVC |
| DC11119/AL | 630.0mm2 (91/3.00) Single Core PVC/PVC |

|  |
| --- |
| XLPE Insulated PVC Sheathed Power Cables Copper Single core  |
| **CODE** | **Description** |
| DC189XLPE | 16.0mm2 (7/1.70) Single Core XLPE/PVC Black |
| DC199XLPE | 25.0mm2 (19/1.35) Single Core XLPE/PVC Black |
| DC1109XLPE | 35.0mm2 (19/1.53) Single Core XLPE/PVC Black |
| DC1119XLPE | 50.0mm2 (19/1.78) Single Core XLPE/PVC Black |
| DC1129XLPE | 70.0mm2 (19/2.14) Single Core XLPE/PVC Black |
| DC1139XLPE | 95.0mm2 (37/1.78) Single Core XLPE/PVC Black |
| DC1149XLPE | 120.0mm2 (37/2.03) Single Core XLPE/PVC Black |
| DC1159XLPE | 150.0mm2 (37/2.25) Single Core XLPE/PVC Black |
| DC1169XLPE | 185.0mm2 (37/2.52) Single Core XLPE/PVC Black |
| DC1179XLPE | 240.0mm2 (61/2.25) Single Core XLPE/PVC Black |
| DC1189XLPE | 300.0mm2 (61/2.52) Single Core XLPE/PVC Black |
| DC1199XLPE | 400.0mm2 (61/2.85) Single Core XLPE/PVC Black |
| DC11109XLPE | 500.0mm2 (61/3.20) Single Core XLPE/PVC Black |
| DC11119XLPE | 630.0mm2 (91/3.00) Single Core XLPE/PVC Black |

|  |
| --- |
| XLPE Insulated PVC Sheathed Power Cables Aluminium Single core |
| **CODE** | **Description** |
| DC189XLPE/AL | 16.0mm2 (7/1.70) Single Core XLPE/PVC Black |
| DC199XLPE/AL | 25.0mm2 (19/1.35) Single Core XLPE/PVC Black |
| DC1109XLPE/AL | 35.0mm2 (19/1.53) Single Core XLPE/PVC Black |
| DC1119XLPE/AL | 50.0mm2 (19/1.78) Single Core XLPE/PVC Black |
| DC1129XLPE/AL | 70.0mm2 (19/2.14) Single Core XLPE/PVC Black |
| DC1139XLPE/AL | 95.0mm2 (37/1.78) Single Core XLPE/PVC Black |
| DC1149XLPE/AL | 120.0mm2 (37/2.03) Single Core XLPE/PVC Black |
| DC1159XLPE/AL | 150.0mm2 (37/2.25) Single Core XLPE/PVC Black |
| DC1169XLPE/AL | 185.0mm2 (37/2.52) Single Core XLPE/PVC Black |
| DC1179XLPE/AL | 240.0mm2 (61/2.25) Single Core XLPE/PVC Black |
| DC1189XLPE/AL | 300.0mm2 (61/2.52) Single Core XLPE/PVC Black |
| DC1199XLPE/AL | 400.0mm2 (61/2.85) Single Core XLPE/PVC Black |
| DC11109XLPE/AL | 500.0mm2 (61/3.20) Single Core XLPE/PVC Black |
| DC11119XLPE/AL | 630.0mm2 (91/3.00) Single Core XLPE/PVC Black |

|  |
| --- |
| White Twin Flat TPS Electric Cable |
| **CODE** | **Description** |
| DC209 | 1.0mm2 (1/1.13) Two Core Flat R/W |
| DC229 | 1.5mm2 (7/0.50) Two Core Flat R/W |
| DC249 | 2.5mm2 (7/0.67) Two Core Flat R/W |
| DC259 | 4.0mm2 (7/0.85) Two Core Flat R/W |
| DC269 | 6.0mm2 (7/1.04) Two Core Flat R/W |
| DC279 | 10.0mm2 (7/1.35) Two Core Flat R/W |
| DC289 | 16.0mm2 (7/1.70) Two Core Flat R/W |
| DC209FA | 1.0mm2 (32/0.20) Two Core Flat R/W Red Fire Alarm |
| DC229FA | 1.5mm2 (7/0.50) Two Core Flat R/W Red Fire Alarm |
| DC249FA | 2.5mm2 (7/0.67) Two Core Flat R/W Red Fire Alarm |

|  |
| --- |
| Twisted 2 Core Fire Alarm Cable Electric Cable |
| **CODE** | **Description** |
| DC922OD | 0.75mm2 (24/0.20) Two Core Red Fire Alarm Cable |
| DC932OD | 1.0mm2 (32/0.20) Two Core Red Fire Alarm Cable |
| DC942OD | 1.50mm2 (30/0.25) Two Core Red Fire Alarm Cable |
| DC952OD | 2.50mm2 (50/0.25) Two Core Red Fire Alarm Cable |
| DC962OD | 4.0mm2 (56/0.30) Two Core Red Fire Alarm Cable |

|  |
| --- |
| White 2C + E Flat TPS Electric Cable |
| **CODE** | **Description** |
| DC309 | 1.0mm2 (1/1.13) Two Core + Ecc Flat |
| DC329 | 1.5mm2 (7/0.50) Two Core + Ecc Flat |
| DC339 | 2.5mm2 (1/1.78) Two Core + Ecc Flat |
| DC349 | 2.5mm2 (7/0.67) Two Core + Ecc Flat |
| DC359 | 4.0mm2 (7/0.85) Two Core + Ecc Flat |
| DC369 | 6.0mm2 (7/1.04) Two Core + Ecc Flat |
| DC379 | 10.0mm2 (7/1.35) Two Core + Ecc Flat |
| DC389 | 16.0mm2 (7/1.70) Two Core + Ecc Flat |

|  |
| --- |
| White 3C + E Flat TPS Electric Cable |
| **CODE** | **Description** |
| DC409 | 1.0mm2 (1/1.13) Three Core + Ecc Flat |
| DC429 | 1.5mm2 (7/0.50) Three Core + Ecc Flat |
| DC449 | 2.5mm2 (7/0.67) Three Core + Ecc Flat |
| DC459 | 4.0mm2 (7/0.85) Three Core + Ecc Flat |
| DC469 | 6.0mm2 (7/1.04) Three Core + Ecc Flat |
| DC479 | 10.0mm2 (7/1.35) Three Core + Ecc Flat |
| DC489 | 16.0mm2 (7/1.70) Three Core + Ecc Flat |

|  |
| --- |
| PVC Orange Circular 2 Core and Earth |
| **CODE** | **Description** |
| DC320 | 1.5mm2 (7/0.50) Two Core + Ecc Org Circ PVC PVC |
| DC340 | 2.5mm2 (7/0.67) Two Core + Ecc Org Circ PVC PVC |
| DC350 | 4.0mm2 (7/0.85) Two Core + Ecc Org Circ PVC PVC |
| DC360 | 6.0mm2 (7/1.04) Two Core + Ecc Org Circ PVC PVC |
| DC370 | 10.0mm2 (7/1.35) Two Core + Ecc Org Circ PVC PVc |
| DC380 | 16.0mm2 (7/1.70) Two Core + Ecc Org Circ PVC PVC |
| DC390 | 25.0mm2 (19/1.35) Two Core + Ecc Org Circ PVC PVC |
| DC3100 | 35.0mm2 (19/1.53) Two Core + Ecc Org Circ PVC PVC |

|  |
| --- |
| PVC Orange Circular 3 Core and Earth  |
| **CODE** | **Description** |
| DC420 | 1.5mm2 (7/0.50) Three Core + Ecc Org Circ PVC PVC |
| DC440 | 2.5mm2 (7/0.67) Three Core + Ecc Org Circ PVC PVC |
| DC450 | 4.0mm2 (7/0.85) Three Core + Ecc Org Circ PVC PVC |
| DC460 | 6.0mm2 (7/1.04) Three Core + Ecc Org Circ PVC PVC |
| DC470 | 10.0mm2 (7/1.35) Three Core + Ecc Org Circ PVC PVc |
| DC480 | 16.0mm2 (7/1.70) Three Core + Ecc Org Circ PVC PVC |
| DC490 | 25.0mm2 (19/1.35) Three Core + Ecc Org Circ PVC PVC |
| DC4100 | 35.0mm2 (19/1.53) Three Core + Ecc Org Circ PVC PVC |
| DC4110 | 50.0mm2 (19/1.78) Three Core + Ecc Org Circ PVC PVC |
| DC4120 | 70.0mm2 (19/2.14) Three Core + Ecc Org Circ PVC PVC |
| DC4130 | 95.0mm2 (37/1.78) Three Core + Ecc Org Circ PVC PVC |
| DC4140 | 120.0mm2 (37/2.03) Three Core + Ecc Org Circ PVC PVC |
| DC4150 | 150.0mm2 (37/2.25) Three Core + Ecc Org Circ PVC PVC |
| DC4160 | 185.0mm2 (37/2.52) Three Core + Ecc Org Circ PVC PVC |

|  |
| --- |
| PVC Orange Circular 4 Core |
| **CODE** | **Description** |
| DC490/NE | 25.0mm2 (19/1.35) Four Core Org Circ PVC PVC |
| DC4100/NE | 35.0mm2 (19/1.53) Four Core Org Circ PVC PVC |
| DC4110N/E | 50.0mm2 (19/1.78) Four Core Org Circ PVC PVC |
| DC4120N/E | 70.0mm2 (19/2.14) Four Core Org Circ PVC PVC |
| DC4130N/E | 95.0mm2 (37/1.78) Four Core Org Circ PVC PVC |
| DC4140N/E | 120.0mm2 (37/2.03) Four Core Org Circ PVC PVC |
| DC4150/NE | 150.0mm2 (37/2.25) Four Core Org Circ PVC PVC |
| DC4160/NE | 185.0mm2 (37/2.52) Four Core Org Circ PVC PVC |
| DC4170/NE | 240.0mm2 (61/2.25) Four Core Org Circ PVC PVC |

|  |
| --- |
| PVC Orange Circular 4 Core and Earth  |
| **CODE** | **Description** |
| DC520 | 1.5mm2 (7/0.50) Four Core + Ecc Org Circ PVC PVC |
| DC540 | 2.5mm2 (7/0.67) Four Core + Ecc Org Circ PVC PVC |
| DC550 | 4.0mm2 (7/0.85) Four Core + Ecc Org Circ PVC PVC |
| DC560 | 6.0mm2 (7/1.04) Four Core + Ecc Org Circ PVC PVC |
| DC570 | 10.0mm2 (7/1.35) Four Core + Ecc Org Circ PVC PVc |
| DC580 | 16.0mm2 (7/1.70) Four Core + Ecc Org Circ PVC PVC |
| DC590 | 25.0mm2 (19/1.35) Four Core + Ecc Org Circ PVC PVC |
| DC5100 | 35.0mm2 (19/1.53) Four Core + Ecc Org Circ PVC PVC |
| DC5110 | 50.0mm2 (19/1.78) Four Core + Ecc Org Circ PVC PVC |
| DC5120 | 70.0mm2 (19/2.14) Four Core + Ecc Org Circ PVC PVC |
| DC5130 | 95.0mm2 (37/1.78) Four Core + Ecc Org Circ PVC PVC |
| DC5140 | 120.0mm2 (37/2.03) Four Core + Ecc Org Circ PVC PVC |
| DC5150 | 150.0mm2 (37/2.25) Four Core + Ecc Org Circ PVC PVC |
| DC5160 | 185.0mm2 (37/2.52) Four Core + Ecc Org Circ PVC PVC |
| DC5170 | 240.0mm2 (61/2.25) Four Core + Ecc Org Circ PVC PVC |
| DC5180 | 300.0mm2 (61/2.52) Four Core + Ecc Org Circ PVC PVC |

|  |
| --- |
| XLPE/PVC Orange Circular 2 Core and Earth |
| **CODE** | **Description** |
| DC320/X | 1.5mm2 (7/0.50) Two Core + Ecc Org Circ XLPE PVC |
| DC340/X | 2.5mm2 (7/0.67) Two Core + Ecc Org Circ XLPE PVC |
| DC350/X | 4.0mm2 (7/0.85) Two Core + Ecc Org Circ XLPE PVC |
| DC360/X | 6.0mm2 (7/1.04) Two Core + Ecc Org Circ XLPE PVC |
| DC370/X | 10.0mm2 (7/1.35) Two Core + Ecc Org Circ XLPE PVC |
| DC380/X | 16.0mm2 (7/1.70) Two Core + Ecc Org Circ XLPE PVC |
| DC390/X | 25.0mm2 (19/1.35) Two Core + Ecc Org Circ XLPE PVC |
| DC3100/X | 35.0mm2 (19/1.53) Two Core + Ecc Org Circ XLPE PVC |

|  |
| --- |
| XLPE/PVC Orange Circular 3 Core and Earth  |
| **CODE** | **Description** |
| DC420/X | 1.5mm2 (7/0.50) Three Core + Ecc Org Circ XLPE PVC |
| DC440/X | 2.5mm2 (7/0.67) Three Core + Ecc Org Circ XLPE PVC |
| DC450/X | 4.0mm2 (7/0.85) Three Core + Ecc Org Circ XLPE PVC |
| DC460/X | 6.0mm2 (7/1.04) Three Core + Ecc Org Circ XLPE PVC |
| DC470/X | 10.0mm2 (7/1.35) Three Core + Ecc Org Circ XLPE PVC |
| DC480/X | 16.0mm2 (7/1.70) Three Core + Ecc Org Circ XLPE PVC |
| DC490/X | 25.0mm2 (19/1.35) Three Core + Ecc Org Circ XLPE PVC |
| DC4100/X | 35.0mm2 (19/1.53) Three Core + Ecc Org Circ XLPE PVC |
| DC4110/X | 50.0mm2 (19/1.78) Three Core + Ecc Org Circ XLPE PVC |
| DC4120/X | 70.0mm2 (19/2.14) Three Core + Ecc Org Circ XLPE PVC |
| DC4130/X | 95.0mm2 (37/1.78) Three Core + Ecc Org Circ XLPE PVC |
| DC4140/X | 120.0mm2 (37/2.03) Three Core + Ecc Org Circ XLPE PVC |
| DC4150/X | 150.0mm2 (37/2.25) Three Core + Ecc Org Circ XLPE PVC |
| DC4160/X | 185.0mm2 (37/2.52) Three Core + Ecc Org Circ XLPE PVC |

|  |
| --- |
| XLPE/PVC Orange Circular 4 Core |
| **CODE** | **Description** |
| DC490/NE/X | 25.0mm2 (19/1.35) Four Core Org Circ XLPE PVC |
| DC4100/NE/X | 35.0mm2 (19/1.53) Four Core Org Circ XLPE PVC |
| DC4110N/E/X | 50.0mm2 (19/1.78) Four Core Org Circ XLPE PVC |
| DC4120N/E/X | 70.0mm2 (19/2.14) Four Core Org Circ XLPE PVC |
| DC4130N/E/X | 95.0mm2 (37/1.78) Four Core Org Circ XLPE PVC |
| DC4140N/E/X | 120.0mm2 (37/2.03) Four Core Org Circ XLPE PVC |
| DC4150/NE/X | 150.0mm2 (37/2.25) Four Core Org Circ XLPE PVC |
| DC4160/NE/X | 185.0mm2 (37/2.52) Four Core Org Circ XLPE PVC |
| DC4170/NE/X | 240.0mm2 (61/2.25) Four Core Org Circ XLPE PVC |

|  |
| --- |
| XLPE/PVC Orange Circular 4 Core and Earth  |
| **CODE** | **Description** |
| DC520/X | 1.5mm2 (7/0.50) Four Core + Ecc Org Circ XLPE PVC |
| DC540/X | 2.5mm2 (7/0.67) Four Core + Ecc Org Circ XLPE PVC |
| DC550/X | 4.0mm2 (7/0.85) Four Core + Ecc Org Circ XLPE PVC |
| DC560/X | 6.0mm2 (7/1.04) Four Core + Ecc Org Circ XLPE PVC |
| DC570/X | 10.0mm2 (7/1.35) Four Core + Ecc Org Circ XLPE PVC |
| DC580/X | 16.0mm2 (7/1.70) Four Core + Ecc Org Circ XLPE PVC |
| DC590/X | 25.0mm2 (19/1.35) Four Core + Ecc Org Circ XLPE PVC |
| DC5100/X | 35.0mm2 (19/1.53) Four Core + Ecc Org Circ XLPE PVC |
| DC5110/X | 50.0mm2 (19/1.78) Four Core + Ecc Org Circ XLPE PVC |
| DC5120/X | 70.0mm2 (19/2.14) Four Core + Ecc Org Circ XLPE PVC |
| DC5130/X | 95.0mm2 (37/1.78) Four Core + Ecc Org Circ XLPE PVC |
| DC5140/X | 120.0mm2 (37/2.03) Four Core + Ecc Org Circ XLPE PVC |
| DC5150/X | 150.0mm2 (37/2.25) Four Core + Ecc Org Circ XLPE PVC |
| DC5160/X | 185.0mm2 (37/2.52) Four Core + Ecc Org Circ XLPE PVC |
| DC5170/X | 240.0mm2 (61/2.25) Four Core + Ecc Org Circ XLPE PVC |
| DC5180/X | 300.0mm2 (61/2.52) Four Core + Ecc Org Circ XLPE PVC |

|  |
| --- |
| PVC Steel Wire Armored Power cable 2 Core & Earth |
| **CODE** | **Description** |
| DC320A | 1.5mm2 (7/0.50) Two Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC340A | 2.5mm2 (7/0.67) Two Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC350A | 4.0mm2 (7/0.85) Two Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC360A | 6.0mm2 (7/1.04) Two Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC370A | 10.0mm2 (7/1.35) Two Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC380A | 16.0mm2 (7/1.70) Two Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC390A | 25.0mm2 (19/1.35) Two Core + Ecc Org Circ PVC/GSWA/ PVC |

|  |
| --- |
| PVC Steel Wire Armored Power cable 3 Core & Earth |
| **CODE** | **Description** |
| DC420A | 1.5mm2 (7/0.50) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC440A | 2.5mm2 (7/0.67) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC450A | 4.0mm2 (7/0.85) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC460A | 6.0mm2 (7/1.04) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC470A | 10.0mm2 (7/1.35) Three Core + Ecc Org Circ PVCGSWA/ PVC |
| DC480A | 16.0mm2 (7/1.70) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC490A | 25.0mm2 (19/1.35) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC4100A | 35.0mm2 (19/1.53) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC4110A | 50.0mm2 (19/1.78) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC4120A | 70.0mm2 (19/2.14) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC4130A | 95.0mm2 (37/1.78) Three Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC4130A | 120m2 (37/2.03) Three Core + Ecc Org Circ PVC/GSWA/ PVC |

|  |
| --- |
| PVC Steel Wire Armored Power cable 4 Core & Earth  |
| **CODE** | **Description** |
| DC520A | 1.5mm2 (7/0.50) Four Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC540A | 2.5mm2 (7/0.67) Four Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC550A | 4.0mm2 (7/0.85) Four Core + Ecc Org Circ PVC /GSWA/PVC |
| DC560A | 6.0mm2 (7/1.04) Four Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC570A | 10.0mm2 (7/1.35) Four Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC580A | 16.0mm2 (7/1.70) Four Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC590A | 25.0mm2 (19/1.35) Four Core + Ecc Org Circ PVC /GSWA/PVC |
| DC5100A | 35.0mm2 (19/1.53) Four Core + Ecc Org Circ PVC /GSWA/PVC |
| DC5110A | 50.0mm2 (19/1.78) Four Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC5120A | 70.0mm2 (19/2.14) Four Core + Ecc Org Circ PVC /GSWA/PVC |
| DC5130A | 95.0mm2 (37/1.78) Four Core + Ecc Org Circ PVC/GSWA/ PVC |
| DC5140A | 120.0mm2 (37/2.03) Four Core + Ecc Org Circ PVC/GSWA/ PVC |

|  |
| --- |
| 1.5mm2 PVC Control cable |
| **CODE** | **Description** |
| DC620C | 1.5mm2 (7/0.50) 5 Core + Ecc Control Cable Circ PVC PVC |
| DC720C | 1.5mm2 (7/0.50) 6 Core + Ecc Control Cable Circ PVC PVC |
| DC820C | 1.5mm2 (7/0.50) 7 Core + Ecc Control Cable Circ PVC PVC |
| DC920C | 1.5mm2 (7/0.50) 8 Core + Ecc Control Cable Circ PVC PVC |
| DC1120C | 1.5mm2 (7/0.50) 10 Core + Ecc Control Cable Circ PVC PVC |
| DC1320C | 1.5mm2 (7/0.50) 12 Core + Ecc Control Cable Circ PVC PVC |
| DC1620C | 1.5mm2 (7/0.50) 15 Core + Ecc Control Cable Circ PVC PVC |
| DC2120C | 1.5mm2 (7/0.50) 20 Core + Ecc Control Cable Circ PVC PVC |
| DC2520C | 1.5mm2 (7/0.50) 24 Core + Ecc Control Cable Circ PVC PVC |
| DC2620C | 1.5mm2 (7/0.50) 25 Core + Ecc Control Cable Circ PVC PVC |
| DC3120C | 1.5mm2 (7/0.50) 30 Core + Ecc Control Cable Circ PVC PVC |
| DC4120C | 1.5mm2 (7/0.50) 40 Core + Ecc Control Cable Circ PVC PVC |
| DC5120C | 1.5mm2 (7/0.50) 50 Core + Ecc Control Cable Circ PVC PVC |

|  |
| --- |
| 2.5mm2 PVC Control cable |
| **CODE** | **Description** |
| DC640C | 2.5mm2 (7/0.67) 5 Core + Ecc Control Cable Circ PVC PVC |
| DC740C | 2.5mm2 (7/0.67) 6 Core + Ecc Control Cable Circ PVC PVC |
| DC940C | 2.5mm2 (7/0.67) 8 Core + Ecc Control Cable Circ PVC PVC |
| DC1140C | 2.5mm2 (7/0.67) 10 Core + Ecc Control Cable Circ PVC PVC |
| DC1340C | 2.5mm2 (7/0.67) 12 Core + Ecc Control Cable Circ PVC PVC |
| DC1640C | 2.5mm2 (7/0.67) 15 Core + Ecc Control Cable Circ PVC PVC |
| DC2140C | 2.5mm2 (7/0.67) 20 Core + Ecc Control Cable Circ PVC PVC |
| DC2240C | 2.5mm2 (7/0.67) 21 Core + Ecc Control Cable Circ PVC PVC |
| DC2640C | 2.5mm2 (7/0.67) 25 Core + Ecc Control Cable Circ PVC PVC |
| DC3140C | 2.5mm2 (7/0.67) 30 Core + Ecc Control Cable Circ PVC PVC |
| DC3640C | 2.5mm2 (7/0.67) 35 Core + Ecc Control Cable Circ PVC PVC |
| DC4140C | 2.5mm2 (7/0.67) 40 Core + Ecc Control Cable Circ PVC PVC |
| DC5140C | 2.5mm2 (7/0.67) 50 Core + Ecc Control Cable Circ PVC PVC |

|  |
| --- |
| 4mm2 PVC Control cable |
| **CODE** | **Description** |
| DC650 | 4mm2 (7/0.85) 5 Core + Ecc Control Cable Circ PVC PVC |
| DC750 | 4mm2 (7/0.85) 6 Core + Ecc Control Cable Circ PVC PVC |
| DC950 | 4mm2 (7/0.85) 8 Core + Ecc Control Cable Circ PVC PVC |
| DC1150 | 4mm2 (7/0.85) 10 Core + Ecc Control Cable Circ PVC PVC |
| DC1350 | 4mm2 (7/0.85) 12 Core + Ecc Control Cable Circ PVC PVC |
| DC1650 | 4mm2 (7/0.85) 15 Core + Ecc Control Cable Circ PVC PVC |
| DC2150 | 4mm2 (7/0.85) 20 Core + Ecc Control Cable Circ PVC PVC |
| DC2250 | 4mm2 (7/0.85) 21 Core + Ecc Control Cable Circ PVC PVC |
| DC2650 | 4mm2 (7/0.85) 25 Core + Ecc Control Cable Circ PVC PVC |
| DC3150 | 4mm2 (7/0.85) 30 Core + Ecc Control Cable Circ PVC PVC |
| DC3650 | 4mm2 (7/0.85) 35 Core + Ecc Control Cable Circ PVC PVC |
| DC4150 | 4mm2 (7/0.85) 40 Core + Ecc Control Cable Circ PVC PVC |
| DC5150 | 4mm2 (7/0.85) 50 Core + Ecc Control Cable Circ PVC PVC |

|  |
| --- |
| Bell Wire |
| **CODE** | **Description** |
| Bell Wire | 0.32mm2 (1/0.635) Bell Wire |

|  |
| --- |
| Garden Cable |
| **CODE** | **Description** |
| DC15GL | 1.5mm² Garden Cable |
| DC25GL | 2.5mm² Garden Cable |
| DC40GL | 4.0mm² Garden Cable |

|  |
| --- |
| Alarm (Security) Cable |
| **CODE** | **Description** |
| DC4702 | 0.22mm² (7/0.20) 4 Core Alarm Cable |
| DC4703 | 0.44mm² (14/0.20) 4 Core Alarm Cable |
| DC4704 | 0.22mm² (7/0.20) 6 Core Alarm Cable |
| DC4705 | 0.44mm² (14/0.20) 6 Core Alarm Cable |